## Slide 1: POWTS SOLUTIONS FOR CHALLENGING SITES

## Slide 2: WHAT IS A CHALLENGING SITE?

## Slide 3: LIMITED SPACE

## Slide 4: LIMITED SPACE - replacement in existing system area

## Slide 5: FILL SOILS

## Slide 6: LIMITED SPACE

## Slide 7: DIFFICULT ACCESS

## Slide 8: FLOODPLAIN

## Slide 9: What Do We Need to Do?
Recognize when doing a soil and site evaluation in or near floodplain areas.
If in a mapped floodplain, find out if it is flood fringe or floodway
  Owner may need to pay for Hydrologic / Hydraulic study/model - NOT cheap!
Determine if and what type of POWTS can be installed
Include all relevant elevation data in soil and site evalution
What Do We Need to Do?

## Slide 10
If within flood fringe:
  Check with county to see if acceptable
  Ensure tank(s) is waterproofed
  Ensure tank(s) and holding components are properly anchored
  Ensure vent pipes are at least 2’ above RFE
If within floodway:
  POWTS prohibited for new development
  Check with county to find out alternatives for replacement POWTS
What Do We Need to Do?

## Slide 11: DAMAGED SITES

## Slide 12: FLOW EQUALIZATION

## Slide 13: FLOW EQUALIZATION

## Slide 14: LARGE POWTS

## Slide 15
From 341 GPD to 2000 GPD based on metered flow of 1116 gpd
Average flows 897
.17# of BOD

## Slide 16: High strength

## Slide 18
600 GPD Designed
262 mg/L BOD in septic tank
1.3 # of BOD
Actual Flow 264
.57# of BOD

## Slide 19: Sampling

## Slide 21
2250 GPD Designed
657 mg/L BOD in septic tank
12.3 # of BOD
Actual flows 1840
10.08 # of BOD

## Slide 22: Sampling

## Slide 23: THANK YOU!
CeCe Rudnicki
715.403.0726
cece@thesepticgal.com​
www.thesepticgal.com​